IPC Revisions - Article XV

IPC & IRC Revisions - Article XV


Chapter 1 of Article XV incorporates both Chapter 1 - Administration from the IPC and Chapter 1-Administration of the IRC.

CHAPTER 1

ADMINISTRATION

SECTION 101

GENERAL

IPC 101.1
DELETE & REPLACE WITH

IRC R101.1
DELETE & REPLACE WITH 

AC-101.1   Title.  These regulations shall be known as the Plumbing Code of the Allegheny County Health Department, hereinafter referred to as “Article XV”.

ADD
AC-101.1.1   Effective date.  This Article, after approval, shall become effective no sooner than ten (10) days after being advertised in a newspaper of general circulation in Allegheny County.  All other provisions of Article XV shall be superceded.

IPC 101.3
DELETE & REPLACE WITH

IRC R101.3
DELETE & REPLACE WITH
AC-101.3   Intent.  This Article provides for the comprehensive and uniform regulation of plumbing throughout Allegheny County to protect the public from the health hazards of inadequate or unsanitary plumbing; sets forth procedures for contracting with municipalities to provide inspection services and to issue permits and licenses; sets fees for the aforementioned services and licenses, provides for the imposition of penalties; sets forth definitions and procedures for the administration of the Plumbing Code of the Allegheny County Health Department; and provides for a Plumbing Program and a Plumbing Advisory Board.

ADD




AC-101.3.1   Administration by other Municipalities within Allegheny County.  Those municipalities in Allegheny County presently administering the provisions of this Article and the Plumbing Code of the Allegheny County Health Department may continue to do so, so long as no plumbing permits are issued for plans with requirements meeting standards less stringent than those outlined in this Article. Changes to the agreements with these municipalities are to be reviewed annually by the Board of Health. The person(s) who serve as inspector(s) in municipalities wishing to administer the Plumbing Code of the Allegheny County Health Department shall be appointed by the governing body of the municipality and shall have such qualifications as set forth by Article XV and the PA Construction Code Act of 1999 (Act 45) Chapter 401, Training and Certification.

SECTION 103

DEPARTMENT OF PLUMBING INSPECTION

IPC 103.1
DELETE & REPLACE WITH

IRC R103.1
DELETE & REPLACE WITH
AC-103.1   General.  The Plumbing Program of the Allegheny County Health Department is responsible for the enforcement of these regulations.

IPC 103.2
DELETE & REPLACE WITH





IRC R102.3
DELETE & REPLACE WITH
AC-103.2   Appointment.  The Chief Plumbing Inspector shall be appointed by the Director of the Allegheny County Health Department.

IPC 103.3   
DELETE & REPLACE WITH

IRC R103.3
DELETE & REPLACE WITH

AC-103.3   Staffing.  In accordance with the prescribed procedures of the Allegheny County Health Department, the Director shall appoint Plumbing Inspector Supervisors, Plumbing Inspectors, and other related technical officers and employees.

ADD

AC-103.5   Conflict of interest.  No person appointed Chief Plumbing Inspector, Assistant Chief Plumbing Inspector, Plumbing Inspector Supervisor, and/or Plumbing Inspector shall, directly or indirectly, be engaged in business or work regulated by this Article during his employment with the Department.

SECTION 104

DUTIES AND POWERS OF THE CODE OFFICIAL

IPC 104.1
DELETE & REPLACE WITH

IRC R104.1
DELETE & REPLACE WITH

AC-104.1   General.  The Director and/or his designee shall enforce the provisions of this Article and shall preside over the resolution of any question relating to the installation, alteration, repair, maintenance, or operation of all plumbing systems, devices, and equipment. 

IPC 104.2
DELETE & REPLACE WITH



AC-104.2   Rule-making authority.  The Board of Health shall have the authority, in the interest of public health, safety and the general welfare, to adopt rules and regulations through its established rulemaking process for the approval of the Allegheny County Chief Executive.

The Board of Health shall direct the Department to propose rules, regulations, standards, policies, and procedures to the Board of Health for approval, to interpret and implement the provisions of this Article; to secure the intent thereof; and to designate due to local climatic or other conditions appropriate, alternative minimum standards.  Such rules, regulations, standards, policies, or procedures shall not have the effect of waiving structural or fire performance requirements specifically provided for in this code, or of violating accepted engineering practice involving public safety.

The Board of Health may direct the Plumbing Advisory Board to review and comment upon rules, regulations, standards, policies, and procedures proposed by the Department.

IPC 104.3
DELETE & REPLACE WITH

IRC R104.2
DELETE & REPLACE WITH

AC-104.3   Applications and permits.  The Chief Plumbing Inspector and/or his designee shall receive applications and issue permits for installation and alteration of plumbing, inspect the premises for which such permits have been issued, and assure through necessary enforcement procedures compliance with the provisions of this Article.

IPC 104.4
DELETE & REPLACE WITH
 

IRC R104.4
DELETE & REPLACE WITH 



AC-104.4   Inspections.  The Chief Plumbing Inspector and/or his designee shall make all required inspections, or shall accept reports of inspections by approved agencies or individuals.  All inspection reports shall be in writing and be endorsed by an officer of such approved agency or by an approved individual.  The Chief Plumbing Inspector and/or his designee is authorized to engage such expert opinion as is deemed necessary to resolve unusual technical issues that arise, subject to the approval of the Director.
IPC 104.7
ADD

IRC R104.3
ADD
AC-104.7.1  Civil penalties.  A person who violates any of the provision of this Article, or any order issued by the Director under this regulation, is subject to a Civil Penalty in accordance with the provisions of the Department’s Rules & Regulations, Article XVI, ”Civil Penalties”.

SECTION 105

APPROVAL

IPC 105.1
DELETE & REPLACE WITH

IRC R104.10
DELETE & REPLACE WITH 

AC-105.1   Modifications.  Whenever there are practical difficulties involved in carrying out the provisions of this code, the Director and/or his designee shall have the authority to approve modifications on a case by case basis, provided that the Director and/or his designee shall first find that special circumstances make the strict letter of this code impractical. Such modifications shall be in conformity with the intent and purpose of this code, such that they do not negatively impact human or environmental health or fire safety.  The details of an action granting a modification to this code shall be recorded and maintained in the files of the Plumbing Program.

SECTION 106

PERMITS

IPC 106.1
DELETE & REPLACE WITH 

IRC R105.1
DELETE & REPLACE WITH

AC-106.1   When permits are required.  A permit is required to construct, enlarge, alter, repair, move, demolish or change the occupancy of a building or structure, or to erect, install, enlarge, alter, repair, remove, convert or replace any plumbing system, the installation of which is regulated by this Article, or to cause any such work to be done.  Such permit may be obtained by application to the Plumbing Program.

ADD

AC-106.1.1  Engaging in the business of plumbing.  No person, other than a currently licensed master plumber, shall engage in the business of plumbing or expose the sign of plumbing or any advertisement pertaining thereto, except wholesale or retail plumbing fixture suppliers.  Any firm or corporation desiring to engage in the business of plumbing shall have at least one member who possesses a valid master plumber’s license, who shall register with the Department his or her name, along with the name(s) of all officers of the firm or corporation upon whose behalf he is registering.

IPC 106.2
DELETE & REPLACE WITH

IRC R105.2
DELETE & REPLACE WITH

AC-106.2  Exempt Work.  The following work shall be exempt from the requirement for a permit:

1. 
Repairs that involve the working parts of a faucet or valve, the clearance of stoppages, or the replacement of defective faucets or valves, may be made without a permit. However, a permit shall be obtained when any part of the plumbing system becomes defective and requires replacement or alteration. 

2. 
Allied Trades may install equipment not identified as plumbing but which may require water and/or waste connections such as heating, air conditioning, cooling, refrigeration, fire sprinkler systems, and industrial piping. These connections may be made without a permit to water and waste outlets originally provided for in the plumbing and drainage systems, when such connections are made in conformance with Article XV, provided that: where such equipment or systems are being added to a structure in which no provisions have previously been provided for water supply and/or drainage outlets, the services of a registered master plumber will be required; and provided further that installers of any equipment requiring potable water using equipment or systems subject to backflow/and or which would in any way utilize toxic materials or chemicals which could potentially contaminate the potable water supply, shall be required to engage the services of a registered plumber to install proper backflow prevention devices as approved by the Administrative Authority.  

3.
Installation of public facilities: The "Drainage Systems" regulated by this Article include all piping within public or private premises that conveys sewage or other wastes to a legal point of disposal, but do not include the mains of public water or sewer systems or public or private sewage treatment or disposal plants. 

IPC 106.4
DELETE & REPLACE WITH

AC-106.4   By whom application is made.  Application/plans for permits shall be made by the owner/occupant or master plumber installing all or part of any plumbing system.  The applicant shall meet all qualifications established by statute, or by rules and regulations promulgated by this Code.  The full name of and address of the applicant shall be stated in the application.  


Exceptions:

1. 
Existing single family dwellings: Any permit required by this Article to allow any work regulated by this Article may be issued to a bonafide owner who presently occupies an existing single family dwelling, who intends to occupy the existing single family dwelling and any of its accessory buildings, exclusively for private purposes, on the condition that the said owner personally purchase all material and perform all labor in connection therewith. Such privilege does not convey the right to violate any of the provisions of this Article, nor is it to be construed as exempting any such property owner from obtaining a permit, nor covering or concealing work in any manner until after it has been inspected by the Administrative Authority's inspectors, nor from payment of required fees.

2.
Site Work:  When a commercial or industrial site is being developed, registered professional engineers, registered architects, or registered master plumbers may file plans, obtain permits, and install and/or supervise the installation of sewers and water supply systems regulated by this Article from the point of public connection or proper disposal to a point five (5) feet from the building (commonly identified as “site work”). 


Where a new residential site is being developed and public sewers are not immediately available, registered professional engineers, registered architects or registered master plumbers may file plans, obtain permits, and install and/or supervise the installation of common private sewers and common water supply systems up to the point of individual sewer or individual water service pipe connections to the common line.  In addition, the requirements of Section AC-701.3 and AC-701.3.1 shall also be required.

IPC 106.5.4
DELETE & REPLACE WITH

AC-106.5.4   Extensions.    Any permittee holding an unexpired permit shall have the right to apply for an extension of the time within which the permittee may commence work, when the permittee provides satisfactory reasons why the work cannot be commenced within the time required by the original permit.   The Chief Plumbing Inspector and/or his designee shall extend the time for action by the permittee for a period not exceeding 180 days, upon the demonstration of good cause.  No permit shall be extended more than once.  The fee for extension shall be the equivalent of the plan fee.  

ADD

AC-106.5.7  Permission to proceed.  Plans filed shall not constitute permission to proceed.  A permit must be obtained prior to commencing any plumbing work.

ADD

AC-106.5.8  Performance of plumbing work.  No person, other than a licensed master plumber, a licensed journeyman plumber in the employ of a licensed master plumber, a registered plumbing apprentice in the employ of a licensed master plumber, or a bonafide owner presently occupying an existing single family building shall install, alter, or make connections with any sewer, water, drain, or any pipe connected therewith; or alter the location of any existing plumbing fixtures, water distribution piping system or sewer drainage system.

IPC 106.6.2  
DELETE & REPLACE WITH

IRC R108.2
DELETE & REPLACE WITH

AC-106.6.2   Fee schedule.  The fees for all plumbing work shall be as indicated on a fee schedule approved annually by the Board of Health.


IPC 106.6.3
DELETE & REPLACE WITH


IRC R108.5
DELETE & REPLACE WITH
AC-106.6.3   Fee refunds.  The Chief Plumbing Inspector shall authorize fee refunds as follows:


1.  Fixture fees before work has commenced.

NO refunds shall be made on plan fees or after plumbing work has been commenced.

The Chief Plumbing Inspector shall not authorize the refunding of any fee paid, except upon written application filed by the original permittee not later than 180 days after the date of fee payment.

ADD

AC-106.7   Registration and licensing of plumbers.  The Department shall issue licenses for Master and Journeyman Plumbers, as well as register apprentice plumbers.  All licenses/ registrations will be valid for a twelve (12) month period.

AC-106.7.1   Licensing of plumbers.  The Department shall approve or disapprove applications for Journeyman and Master Plumbers, and shall register apprentice plumbers. The Department shall examine and license Journeyman and Master Plumbers.

AC-106.7.2  Identification.  Proper identification, such as government issued photo ID, 

photo driver’s license, and/or valid photo plumbers license must be carried and presented upon request to Department staff.

AC-106.7.3   Valid Master Licenses.  No licensed master plumber shall do plumbing in the County of Allegheny unless a valid current permit to do such work has been issued by the Administrative Authority.  

AC-106.7.4   Valid Journeyman and Apprentice Licenses.  No licensed master plumber shall employ any person who is not currently licensed as a plumber or registered as an apprentice plumber to perform plumbing work under any contract entered into by the licensed master plumber; and no licensed plumber or registered apprentice plumber shall perform any plumbing work except as supervised by a licensed master plumber.

AC-106.7.5   “Registered Master Plumber” Display.  All vehicles used by a master plumber in the operation of his business shall bear his name or the name of his company, and the words "Registered Master Plumber" or his license number, which shall be known as a HEALTH PERMIT number and may be abbreviated to H.P. and followed by  his number in lettering not less than three (3) inches high.

AC-106.7.6   Notice of Change of Business.  Every licensed master plumber shall immediately notify the Department of any change in the place of his business or upon the termination of his business. 

AC-106.7.7   Unauthorized Use.  No person, firm, or corporation, carrying on the business of plumbing, shall allow his name to be used by any person not employed or contracted by that person, firm or corporation, directly or indirectly, either to obtain a permit or permits, or to do any work under his license.

AC-106.7.8   Master Plumber Qualifications.  No master plumber's license shall be granted a journeyman plumber until he has had at least two (2) years experience as a licensed journeyman plumber and has successfully passed the required examination.

AC-106.7.8.1
License Designation.  Once a journeyman plumber takes the master plumber examination, successfully passes, and receives his master’s license, he/she must remain a master plumber and may not revert to a journeyman plumber.

AC-106.7.9  Journeyman Plumber Qualifications.  No journeyman plumber's license shall be granted a registered apprentice plumber until he has:

· Acquired a minimum four (4) years experience or the equivalent of 8,000 hours worked;

· Completed 576 hours of plumbing training at an accredited school, preferably within six (6) years of the beginning of the apprenticeship training; and

· Passed the required examination.

A test qualification exemption may be granted to a registered apprentice plumber who has at least three (3) years and six (6) months’ experience, who will take the Journeyman Plumbers’ examination prior to completing this fourth (4th) year of training, provided that he submits to the Department, documentation that he will complete four (4) years work experience within six (6) months of passing the required examination.


ADD


AC-106.7.9.1  Advanced Standing Examination.  Applicants for advanced standing examination must meet one of the following requirements:

1.
Successful completion of a related training program consisting of at least one (1) 
school year of instruction.

2.
Successful completion of related training provided by the military during active service.

3.
Successful completion of college credits toward a major in a related field.

4.
Successful completion of other comparable training/college credits satisfying the requirements of 1, 2, or 3.

5.
Successful Completion of a Bachelor’s Degree from an accredited institution.

Credit granted shall be applicable to the first year of apprentice training only.  A passing score of 75% is required on the advanced standing examination.  If an applicant fails the examination, he may retake the examination once within thirty (30) days of the original examination date.  The applicant will be required to pay an additional examination fee to retake the examination.

If an applicant is claiming college technical credits, an official transcript, with the university/technical school’s raised or watermark seal and the registrar’s signature on the transcript, must be submitted.  The transcript must be mailed directly from the university or technical school to the Allegheny County Health Department Plumbing Program.  A transcript that states “issued to the student” is not acceptable.  A certificate indicating completion of a training program and military documents verifying training must be submitted if an applicant is claiming this training.

AC-106.7.10   Apprentices.  All apprentice plumbers shall register with the Department within 30 days of the beginning of their apprenticeship training.  Failure to do so may result in revocation of an apprentice’s registration card.

AC-106.7.11   Examinations.  The Department shall develop and conduct examinations as needed.  Notice shall be given no less than two (2) weeks prior to the dates scheduled for the examinations in at least two (2) newspapers of general circulation in Allegheny County.

AC-106.7.12   License renewal.  A licensed master or journeyman plumber desiring to continue in the business of plumbing, shall annually, within thirty (30) days of his birth date apply to the Department for a renewal of his license and pay the annual license renewal fee as specified in the current fee schedule. No examination shall be required for the renewal of a master or journeyman license, provided proper application and payment is made in the time period specified above.

AC-106.7.12.1  Inactive status.  A licensed master or journeyman plumber who has retired or is not engaged in the business of plumbing shall file with the Department written notice that he desires to voluntarily assume inactive status and discontinue the business of plumbing. When a licensed master or journeyman plumber fails to pay the annual fee pursuant to Section AC-106.6.2.4, he becomes inactive by default. 

AC-106.7.12.2  Reinstatement from Inactive Status.  Any person who has assumed inactive status pursuant to Section AC-106.7.12.1 shall be reinstated to active status upon payment of any fee in effect for the year in which the reinstatement request is made, and for any and all annual registration fees that have not been paid since his last assumption of inactive status.

AC-106.7.12.3   Reinstatement to Active Status with Re-Examination.  Any person who requests a transfer to active status after more than four (4) years on inactive status may be required to undergo, at the discretion of the Director, an examination as provided in Section AC-106.7.11.

AC-106.7.13  Retirement.  A licensed Master or Journeyman Plumber who has retired shall file with the Department written notice that he voluntarily desires to retire.  A retiree shall be considered inactive.

AC-106.7.14   Revocation of License.  The Department may revoke any license issued under the provisions of this Article, if the Department finds that a license was obtained by fraud or misrepresentation or that the licensee has persistently violated any provision of this Article or any rule or regulation adopted pursuant thereto. Before making such findings, the Department shall afford the licensee an opportunity for a hearing before the Director, and shall give the licensee at least ten days notice of such hearing.

AC-106.7.14.1   Reinstatement from Revocation.  A person whose license has been revoked shall not be permitted to apply for reinstatement of his license within one year of the revocation date. Any person who applies for reinstatement shall be required to undergo an examination as determined by the Department.

AC-106.7.15   Suspension of License.  The Director may suspend for a period not exceeding thirty (30) days any license issued under the provisions of this Article if the Director finds that the licensee has violated any provision of this Article or any rule or regulation adopted thereto. Before making such a finding, the Director shall afford the licensee an opportunity for a hearing before the Department and it shall give at least five days notice of such hearing to the licensee.

AC-106.7.15.1  Reinstatement with Re-Examination.  A person whose license has been suspended may be required to undergo an examination as shall be determined by the Chief Plumbing Inspector.

AC-106.7.16   Non-Resident License.  Any person, not residing in Allegheny County, desiring to do plumbing work in Allegheny County, who has been licensed by another state or political subdivision, may apply to the Department to take the Allegheny County plumbers’ license examination, provided the applicant holds a similar license issued under licensing procedures equivalent to Allegheny County’s.  The applicant shall pay the examination fees set forth in the current fee schedule.

AC-106.7.16.1
Temporary Reciprocal License.   Any non-resident desiring to do plumbing work in Allegheny County, who has been licensed by another state or political subdivision, may apply to the Department for a temporary reciprocal license.  The Department shall issue the temporary reciprocal license provided the applicant holds a similar license issued under licensing procedures equivalent to Allegheny County’s, which in the discretion of the Department, would merit the issuance of such a license.  A temporary reciprocal license must be obtained for each plumbing permit sought by a non-resident plumber.  A non-resident plumber may obtain licenses for such plumbing work for which he has contracted at the time of application for a temporary reciprocal license.  No additional licenses shall be granted until the previous work has received final inspection and approval.  The applicant shall pay the fees set forth in the current fee schedule.

AC-106.7.17   Registration of Plumbers and Apprentices.  The Department shall maintain a register of all licensed Master and Journeyman Plumbers and registered Apprentice Plumbers. The register shall be open to public inspection in accordance with the rules, regulations or policies governing the inspection of other Departmental records.

SECTION 107

INSPECTIONS AND TESTING

IPC 107.1
ADD

IRC R109.3
ADD

AC-4.
Plumbing work for which a permit is required shall not be covered or concealed in any manner until after it has been inspected and approved by the Department inspectors.

AC-5.
After an inspection request has been received by the Department, an inspection shall be authorized.  The Department shall exercise best efforts to complete the inspection within twenty-four (24) working hours.  Inspection requests received on weekends or holidays will be deferred until the first regular work day unless they concern emergency conditions or a street closure.  The person listed on a permit must request the final inspection.

IPC 107.3.3
ADD

AC-107.3.3.1   Reinspection fees.  A reinspection fee shall be charged when an inspection cannot be completed because the work has not progressed sufficiently to allow for testing, as defined in the relevant sections, or for final inspection.  The fee, as listed on the current fee schedule, must be paid prior to any subsequent reinspections.

SECTION 108

VIOLATIONS

IPC 108.2
ADD

IRC R113.2
ADD

AC-108.2.1  Issuance of notices.  Whenever the Director determines that there has been a violation of any provisions of this Article, he/she shall give notice of the violation to the person responsible for compliance.  The notice shall:


1.
Be in writing;


2.
Include a statement of the reason why it is being issued;


3.
Permit a reasonable amount of time for compliance; and


4.
Inform the person responsible for compliance of his right to a hearing.

AC-108.2.2   Service of notice.  The notice shall be served upon the person responsible for compliance with these regulations by any of the following:

1.
By handing a copy to the responsible person, or by handing a copy to the persons designated in Rule 402 of the Rules of Civil Procedure promulgated by the Supreme Court of Pennsylvania, or

2.
By sending a copy to the responsible person’s last known address by regular mail, or

3.
By posting a copy in a conspicuous place in or about the premises.

IPC 108.3
DELETE & REPLACE WITH

IRC R113.3
DELETE & REPLACE WITH
AC-108.3   Prosecution of violation.  In the event of the failure to comply with an order issued pursuant to any section of this Code, the Director may institute appropriate actions or proceedings at law or in equity to restrain, correct or abate the violation, or he may cause the order to be carried out at the expense of the County. The County may recover the amount of the expense by action of assumpsit, or, where appropriate in the manner provided by law for the collection of claims under the Act of May 16, 1923, P.L. 207, or any amendment or reenactment thereof.

IPC 108.4
DELETE & REPLACE WITH

IRC R113.4
DELETE & REPLACE WITH:

AC-108.4   Violation penalties.  Any person who shall violate a provision of this code or shall fail to comply with any of the requirements thereof shall be guilty of the offenses listed below.  For the purposes of this section, violations on separate dates shall be considered separate offenses.  Each violation of a separate subsection or section of this Article shall constitute a separate offense.

AC-108.4.1   Summary Offenses.  Any person who violates any of the provisions of this Article or any rule or regulation of the Allegheny County Health Department, or who interferes with the Director or any other agent of the Department in the discharge of his official duties, shall, for the first offense, upon conviction thereof in a summary proceeding before any District Magistrate in Allegheny County, be sentenced to pay the costs of prosecution and a fine of not less than thirty dollars ($30) nor more than three hundred dollars ($300) and, in default thereof, shall be subject to  imprisonment for not less than ten (10) days and not more than thirty (30) days.

AC-108.4.2   Misdemeanors.  Any person who violates any of the provisions of this Article or any rule or regulation of the Allegheny County Health Department, or who interferes with the Director or his or her representative in the discharge of his or her official duties, convicted of a second or subsequent offense, shall be guilty of a misdemeanor and shall, upon conviction thereof, be sentenced to pay a fine of not less than five hundred dollars ($500) nor more than one thousand dollars ($1000) or to undergo imprisonment not exceeding one (1) year, or both.

AC-108.4.3   Civil Penalties.  A person who violates any of the provisions of this Article or any order issued by the Director or his designee under this Article, is subject to a Civil Penalty in accordance with the provisions of the Department’s Rules and Regulations, Article XVI, “Civil Penalties.”

IPC 108.5
DELETE & REPLACE WITH

IRC R114.1
DELETE & REPLACE WITH

AC-108.5  Stop work orders.  Upon notice of the Chief Plumbing inspector or his designee, work on any plumbing system that is being done contrary to the provisions of this Code or in a dangerous or unsafe manner, shall immediately cease.  Such notice shall be in writing and shall be given to the owner of the property, to the owner’s agent, or to the person doing the work.  The notice shall state the conditions under which work is authorized to resume.  Where an emergency exists, the Chief Plumbing Inspector or his designee shall not be required to give written notice prior to ordering the work to stop.  Any person who continues any work on or about a structure after having been served with a stop work order, except such work as that person is directed to perform to remove a violation or unsafe condition, shall be subject to enforcement action.

SECTION 109

MEANS OF APPEAL

IPC SECTION 109
DELETE ENTIRE SECTION & REPLACE WITH

IRC SECTION R112
DELETE ENTIRE SECTION & REPLACE WITH

AC-109.1   Application for appeal.  Any person aggrieved by any action taken by the Director and/or his or her designee may request a hearing within ten (10) days in accordance with the Allegheny County Health Department Rules and Regulations, Article XI, “Hearings and Appeals.”

ADD

AC-SECTION 110

PLUMBING ADVISORY BOARD

AC-110.1   General.  The Board of Health shall appoint a Plumbing Advisory Board to consist of the following ten (10) members:

One (1) representative of a City of the Second Class

One (1) representative who shall be a Licensed Professional Engineer

One (1) representative who shall be a Licensed Architect

One (1) representative who shall be a Licensed Master Plumber

One (1) representative of the Allegheny County League of Municipalities

One (1) representative representing the Allied Trades

One (1) representative from the Home Builder's Association

Two (2) representatives who shall be a Licensed Journeyman Plumber

One (1) citizen’s representative not affiliated with the above representative classifications

AC-110.2  Terms of Appointments.  The Plumbing Advisory Board shall be Allegheny County residents consisting of ten (10) members as specified in Section AC-110.1. Two (2) members shall be appointed for a term of one (1) year, two (2) members for a term of two (2) years and the remainder for a term of three (3) years. Upon expiration of any term, all succeeding terms shall be for a term of three (3) years, or until successors are appointed and qualified. Terms shall be limited to two (2) consecutive three (3) year terms. Excessive absenteeism shall be cause for dismissal of any member. If a member has been dismissed or is absent due to death or extended illness, a new member shall be appointed.

AC-110.3   Election of Officers.  The Plumbing Advisory Board shall elect its own Chairman and Vice-Chairman annually, and shall have the power to elect new officers in the event of a vacancy.  A quorum shall consist of a majority of the presently appointed voting members of the Board. It shall meet within thirty (30) days following the adoption of this Article, and after, at the call of the Chairman, or at such times as may be necessary for proper performance of its duties, but at least once during any six month period. The Board of Health shall appoint additional members to fill all vacancies. The Director and the Chief Plumbing Inspector shall be ex-officio members of the Board without the right to vote. The Chief Plumbing Inspector shall serve as Secretary for the Plumbing Advisory Board.

AC-110.4  Duties of the Plumbing Advisory Board.   The Plumbing Advisory Board shall advise the Director in administering the provisions of this Article.

1
EXHIBIT A

