Proposed Revisions to Allegheny County Health Department Rules and Regulations, Article XV. Plumbing and Building Drainage

Legislative Summary

Pursuant to the authority granted to it under the Pennsylvania Local Health Administration Law, Sections 12010(f) and 12011(c), on September 1, 2021, the Allegheny County Board of Health voted unanimously to approve changes to its Rules and Regulations, Article XV, “Plumbing and Building Drainage”.  A summary of the changes to Article XV are as follows:

Article XV (“Plumbing and Building Drainage”): Changes to this regulation are proposed to address record retention; to clarify the types of work requiring a plumbing permit; to address delinquent plumbing license renewals; to change the appeal period to 30 days; to add and revise definitions; to establish who must be present for a plumbing inspection; to clarify the necessary number of urinals; to clarify the number of necessary fixtures at various facilities; to set the minimum size of drains; to change the permissible lead content of pipes, fittings, solder and flux; to ban partial repairs of lead service lines; to require rodding of iron joints; to formalize approval of new plumbing materials and devices; to clarify the authority for requiring connection to a public sewer; to prevent public health hazards from disconnected private common sewer laterals; to require a building controlling trap; to account for building drains located below the building sewer; to require a variance approval for macerating toilets; to require a variance approval for grease interceptors located in food preparation areas; to account for the amount of local rainfall; and to establish regulations for non-potable water systems.

# When drafting these changes, over the course of more than a year, the Health Department conducted numerous internal code review meetings with plumbing staff, legal staff, and management.  The changes were also vetted before the Allegheny County Plumbing Advisory Board and that body voted unanimously to recommend that these changes be approved.  Furthermore, the Board’s vote was preceded by a 30-day public comment period that opened on May 20, 2021 via publication in the Pittsburgh Post-Gazette and closed on June 23, 2021.  Additionally, a public hearing concerning the revisions was conducted on June 22, 2021.